## ARNet Import
IP ADDRESS | NAMA IED | JENIS PERALATAN | PANEL | NO DEVICE | NAMA BAY | JENIS BAY | REMARK | SOURCE
1.108.200.241 | NTP SERVER 1 | NTP Server |  |  | Infrastructure | Server | Detected above IP target table | IED NAME & IP ADDRESS 150kV GI CIKANDE NEW / IP
1.108.200.242 | NTP SERVER 2 | NTP Server |  |  | Infrastructure | Server | Detected above IP target table | IED NAME & IP ADDRESS 150kV GI CIKANDE NEW / IP
1.110.0.11 | E00IO1 | IED I/O | E00 | 01 | IED IO Common | Common |  | IED NAME & IP ADDRESS 150kV GI CIKANDE NEW / IP
1.110.0.31 | E00KWH1 | KWH Meter | E00 | 01 | Energy Meter | Common |  | IED NAME & IP ADDRESS 150kV GI CIKANDE NEW / IP
1.110.0.32 | E00KWH2 | KWH Meter | E00 | 02 | Energy Meter | Common |  | IED NAME & IP ADDRESS 150kV GI CIKANDE NEW / IP
1.110.0.33 | E00KWH3 | KWH Meter | E00 | 03 | Energy Meter | Common |  | IED NAME & IP ADDRESS 150kV GI CIKANDE NEW / IP
1.110.0.111 | E00PBDF1 | Busbar Protection Relay | E00 | 01 | Busbar Protection | Busbar |  | IED NAME & IP ADDRESS 150kV GI CIKANDE NEW / IP
1.110.0.171 | E00SWTC1 | Switch | E00 | 01 | Busbar Protection | Busbar |  | IED NAME & IP ADDRESS 150kV GI CIKANDE NEW / IP
1.110.0.172 | E00SWTC2 | Switch | E00 | 02 | IED IO Common | Common |  | IED NAME & IP ADDRESS 150kV GI CIKANDE NEW / IP
1.110.0.173 | E00SWTC3 | Switch | E00 | 03 | Energy Meter | Common |  | IED NAME & IP ADDRESS 150kV GI CIKANDE NEW / IP
1.110.1.1 | E01BCU1 | Bay Control Unit | E01 | 01 | Line to Cikande 1 | OHL Feeder |  | IED NAME & IP ADDRESS 150kV GI CIKANDE NEW / IP
1.110.1.71 | E01PLDF1 | Line Current Differential | E01 | 01 | Line to Cikande 1 | OHL Feeder |  | IED NAME & IP ADDRESS 150kV GI CIKANDE NEW / IP
1.110.1.91 | E01PTOC1 | Over Current Relay | E01 | 01 | Line to Cikande 1 | OHL Feeder |  | IED NAME & IP ADDRESS 150kV GI CIKANDE NEW / IP
1.110.1.171 | E01SWTC1 | Switch | E01 | 01 | Line to Cikande 1 | OHL Feeder |  | IED NAME & IP ADDRESS 150kV GI CIKANDE NEW / IP
1.110.2.1 | E02BCU1 | Bay Control Unit | E02 | 01 | Line to Cikande 2 | OHL Feeder |  | IED NAME & IP ADDRESS 150kV GI CIKANDE NEW / IP
1.110.2.71 | E02PLDF1 | Line Current Differential | E02 | 01 | Line to Cikande 2 | OHL Feeder |  | IED NAME & IP ADDRESS 150kV GI CIKANDE NEW / IP
1.110.2.91 | E02PTOC1 | Over Current Relay | E02 | 01 | Line to Cikande 2 | OHL Feeder |  | IED NAME & IP ADDRESS 150kV GI CIKANDE NEW / IP
1.110.2.171 | E02SWTC1 | Switch | E02 | 01 | Line to Cikande 2 | OHL Feeder |  | IED NAME & IP ADDRESS 150kV GI CIKANDE NEW / IP
1.110.3.1 | E03BCU1 | Bay Control Unit | E03 | 01 | Bus Coupler | Bus Coupler |  | IED NAME & IP ADDRESS 150kV GI CIKANDE NEW / IP
1.110.3.91 | E03PTOC1 | Over Current Relay | E03 | 01 | Bus Coupler | Bus Coupler |  | IED NAME & IP ADDRESS 150kV GI CIKANDE NEW / IP
1.110.3.171 | E03SWTC1 | Switch | E03 | 01 | Bus Coupler | Bus Coupler |  | IED NAME & IP ADDRESS 150kV GI CIKANDE NEW / IP
1.110.5.1 | E05BCU1 | Bay Control Unit | E05 | 01 | Transformer 150/20kV | Trafo |  | IED NAME & IP ADDRESS 150kV GI CIKANDE NEW / IP
1.110.5.21 | E05AVR1 | AVR | E05 | 01 | Transformer 150/20kV | Trafo |  | IED NAME & IP ADDRESS 150kV GI CIKANDE NEW / IP
1.110.5.81 | E05PTDF1 | Trafo Differential Relay | E05 | 01 | Transformer 150/20kV | Trafo |  | IED NAME & IP ADDRESS 150kV GI CIKANDE NEW / IP
1.110.5.91 | E05PTOC1 | Over Current Relay | E05 | 01 | Transformer 150/20kV | Trafo |  | IED NAME & IP ADDRESS 150kV GI CIKANDE NEW / IP
1.110.5.92 | E05PTOC2 | Over Current Relay | E05 | 02 | Transformer 150/20kV | Trafo |  | IED NAME & IP ADDRESS 150kV GI CIKANDE NEW / IP
1.110.5.151 | E05PSEF1 | Standby Earth Fault | E05 | 01 | Transformer 150/20kV | Trafo |  | IED NAME & IP ADDRESS 150kV GI CIKANDE NEW / IP
1.110.5.171 | E05SWTC1 | Switch | E05 | 01 | Transformer 150/20kV | Trafo |  | IED NAME & IP ADDRESS 150kV GI CIKANDE NEW / IP
1.110.5.172 | E05SWTC2 | Switch | E05 | 02 | Transformer 150/20kV | Trafo |  | IED NAME & IP ADDRESS 150kV GI CIKANDE NEW / IP
1.110.6.1 | E06BCU1 | Bay Control Unit | E06 | 01 | Transformer 500/150/70kV 2 | IBT |  | IED NAME & IP ADDRESS 150kV GI CIKANDE NEW / IP
1.110.6.171 | E06SWTC1 | Switch | E06 | 01 | Transformer 500/150/70kV 2 | IBT |  | IED NAME & IP ADDRESS 150kV GI CIKANDE NEW / IP
1.110.10.1 | E10BCU1 | Bay Control Unit | E10 | 01 | Transformer 500/150/70kV 1 | IBT |  | IED NAME & IP ADDRESS 150kV GI CIKANDE NEW / IP
1.110.10.171 | E10SWTC1 | Switch | E10 | 01 | Transformer 500/150/70kV 1 | IBT |  | IED NAME & IP ADDRESS 150kV GI CIKANDE NEW / IP
1.110.13.1 | E13BCU1 | Bay Control Unit | E13 | 01 | Line to Indah Kiat | OHL Feeder |  | IED NAME & IP ADDRESS 150kV GI CIKANDE NEW / IP
1.110.13.71 | E13PLDF1 | Line Current Differential | E13 | 01 | Line to Indah Kiat | OHL Feeder |  | IED NAME & IP ADDRESS 150kV GI CIKANDE NEW / IP
1.110.13.91 | E13PTOC1 | Over Current Relay | E13 | 01 | Line to Indah Kiat | OHL Feeder |  | IED NAME & IP ADDRESS 150kV GI CIKANDE NEW / IP
1.110.13.171 | E13SWTC1 | Switch | E13 | 01 | Line to Indah Kiat | OHL Feeder |  | IED NAME & IP ADDRESS 150kV GI CIKANDE NEW / IP
1.110.14.1 | E14BCU1 | Bay Control Unit | E14 | 01 | Line to GMS | OHL Feeder |  | IED NAME & IP ADDRESS 150kV GI CIKANDE NEW / IP
1.110.14.71 | E14PLDF1 | Line Current Differential | E14 | 01 | Line to GMS | OHL Feeder |  | IED NAME & IP ADDRESS 150kV GI CIKANDE NEW / IP
1.110.14.91 | E14PTOC1 | Over Current Relay | E14 | 01 | Line to GMS | OHL Feeder |  | IED NAME & IP ADDRESS 150kV GI CIKANDE NEW / IP
1.110.14.171 | E14SWTC1 | Switch | E14 | 01 | Line to GMS | OHL Feeder |  | IED NAME & IP ADDRESS 150kV GI CIKANDE NEW / IP
1.110.200.171 | X1SWTC1 | Switch | SC1+X3 | 01 | SAS Server 1 | HMI |  | IED NAME & IP ADDRESS 150kV GI CIKANDE NEW / IP
1.110.200.172 | X1SWTC2 | Switch | SC1+X4 | 02 | SAS Server 2 | HMI |  | IED NAME & IP ADDRESS 150kV GI CIKANDE NEW / IP
1.110.200.201 | X1SERV1 | Server | SC1+X3 | 01 | SAS Server 1 | HMI |  | IED NAME & IP ADDRESS 150kV GI CIKANDE NEW / IP
1.110.200.202 | X1SERV2 | Server | SC1+X4 | 02 | SAS Server 2 | HMI |  | IED NAME & IP ADDRESS 150kV GI CIKANDE NEW / IP
1.110.200.211 | X1HMI1 | HMI | SC1+X3 | 01 | SAS Server 1 | HMI |  | IED NAME & IP ADDRESS 150kV GI CIKANDE NEW / IP
1.110.200.212 | X1HMI2 | HMI | SC1+X4 | 02 | SAS Server 2 | HMI |  | IED NAME & IP ADDRESS 150kV GI CIKANDE NEW / IP
1.110.200.217 | X1PRNT1 | Printer | SC1+X4 | 01 | SAS Server 2 | HMI |  | IED NAME & IP ADDRESS 150kV GI CIKANDE NEW / IP
1.110.200.221 | X1GWAY1 | Gateway | SC1+X3 | 01 | SAS Server 1 | HMI |  | IED NAME & IP ADDRESS 150kV GI CIKANDE NEW / IP
1.110.200.231 | X1ROUT1 | Router | SC1+X3 | 01 | SAS Server 1 | HMI |  | IED NAME & IP ADDRESS 150kV GI CIKANDE NEW / IP
1.110.200.241 | X1GPS1 | GPS | SC1+X4 | 01 | SAS Server 2 | HMI |  | IED NAME & IP ADDRESS 150kV GI CIKANDE NEW / IP
1.110.200.251 | X1CFG1 | Configurator | SC1+X4 | 01 | SAS Server 2 | HMI |  | IED NAME & IP ADDRESS 150kV GI CIKANDE NEW / IP

## README
ARNet Discovery Import
Use the 'ARNet Import' sheet directly with the application's Import List button.
The app reads IP ADDRESS plus optional expected device metadata, then Scan List probes exact relay/server targets.
Targets exported: 52